## CL-11 Extinguisher HPT (2)
INDUS FIRE SAFETY PRIVATE LIMITED
Corporate Office: 903, Atlantis Heights, Sarabhai Compound, Vadodara-390 023, India. Tele: 0265 2343441, 2343442, 2341633 ¦ Email: maint.ifss@yahoo.com ¦ Web: www.indusfiresafety.com
Checklist Doc. No. |  |  | Reference SOP No. |  |  | Revision |  |  | Effective Date |  |  | Doc. Type / Classification
IFSPL/M&M/CL/011 |  |  | IFSPL/M&M/SOP/011 |  |  | 00 |  |  | 01-10-2026 |  |  | Checklist – Control Copy / Internal
CL-11 ¦ CHECK LIST – HYDRO TESTING & PRESSURISATION OF FIRE EXTINGUISHERS
Client Name & Address
PO / Contract No. | [6 empty] | Job |  | AMC – Testing, inspection & maintenance of fire protection equipment
Work Order / Ref. No. | [6 empty] | Date of Service
Frequency | [6 empty] | Month / Period
Note: Put '√' for OK / Pass, 'X' for NOT OK / Fail and 'NA' for Not Applicable / Not Available. Record every abnormality in the Remarks column. Item numbers (1–9) are identical to the numbering in Section 6 (Check List Format) of IFSPL/M&M/SOP/011.
SN | Area / Plant | ID No. | Location | Item 1 | Item 2 | Item 3 | Item 4 | Item 5 | Item 6 | Item 7 | Item 8 | Item 9 | Remarks
|  |  |  | Calibration certificate of test gauge available | Agent removed; outlets blinded; test with cap / valve | Hydraulic test – 35 Bar for 3 minutes (no leakage / deformation) | Date of hydro test marked on body | Cap assembly, discharge tube, nozzle condition | DCP powder / cartridge / CO2 weight check | Nitrogen pressurisation (if applicable) | Painting, label and tag (not for failed units) | Test certificate issued
|  |  |  | Before start | Each extinguisher | Each extinguisher | Each extinguisher | Each extinguisher | Each extinguisher | As required | Each extinguisher | Each lot
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Equipment / units checked (nos.) |  |  |  | 0
Total √ (OK / Pass) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total X (NOT OK / Fail) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total NA |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remarks / Observations (including corrective actions, spares replaced and pending points)
Applicable standards & performance baseline – IFSPL/M&M/SOP/011, Section 3 (Technical Specifications & Performance Baseline)
• Hydraulic test pressure: 35 Bar for three minutes (IS 2190).
• Painting: two coats of red oxide primer followed by two coats of red oxide paint, Shade 536 of IS 5.
• Pressurisation: dry nitrogen gas for pressure-type extinguishers.
• A lot of 20 extinguishers shall be refilled within 72 hours of handing over to the Firm's representative.
• Extinguishing agents (dry powder / AFFF) are provided by the Client.
Checked by (Service Engineer) |  |  |  |  | Verified by (Supervisor / Technical) |  |  |  |  | Witnessed by (Client I/C Fire Services)
Name: |  |  |  |  | Name: |  |  |  |  | Name:
Signature: |  |  |  |  | Signature: |  |  |  |  | Signature:
Date: |  |  |  |  | Date: |  |  |  |  | Date:
For Indus Fire Safety Private Limited – Authorised Signatory (Seal & Signature): ______________________________

## CL-03 Hose Boxes (2)
INDUS FIRE SAFETY PRIVATE LIMITED
Corporate Office: 903, Atlantis Heights, Sarabhai Compound, Vadodara-390 023, India. Tele: 0265 2343441, 2343442, 2341633 ¦ Email: maint.ifss@yahoo.com ¦ Web: www.indusfiresafety.com
Checklist Doc. No. |  |  | Reference SOP No. |  |  | Revision |  |  | Effective Date |  |  | Doc. Type / Classification
IFSPL/M&M/CL/003 |  |  | IFSPL/M&M/SOP/003 |  |  | 00 |  |  | 01-10-2026 |  |  | Checklist – Control Copy / Internal
CL-03 ¦ CHECK LIST – DELIVERY HOSE BOXES MAINTENANCE
Client Name & Address
PO / Contract No. | [5 empty] | Job |  | AMC – Testing, inspection & maintenance of fire protection equipment
Work Order / Ref. No. | [5 empty] | Date of Service
Frequency | [5 empty] | Month / Period
Note: Put '√' for OK / Pass, 'X' for NOT OK / Fail and 'NA' for Not Applicable / Not Available. Record every abnormality in the Remarks column. Item numbers (1–8) are identical to the numbering in Section 6 (Check List Format) of IFSPL/M&M/SOP/003.
SN | Area / Plant | ID No. | Location | Item 1 | Item 2 | Item 3 | Item 4 | Item 5 | Item 6 | Item 7 | Item 8 | Remarks
|  |  |  | Front glass panel and key glass – intact | Rubber beading / packing – condition | Hinges and fittings – lubricated and functional | Handle, lock and key availability | Hoses and branch pipe present, clean and correctly stowed | Box mounting and stand – stable and clean | Painting – exterior Fire Red, interior white | Labelling / numbering of hose box
|  |  |  | Each servicing | Each servicing | Each servicing | Each servicing | Each servicing | Each servicing | Each servicing / as required | Each servicing
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Equipment / units checked (nos.) |  |  |  | 0
Total √ (OK / Pass) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total X (NOT OK / Fail) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total NA |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remarks / Observations (including corrective actions, spares replaced and pending points)
Applicable standards & performance baseline – IFSPL/M&M/SOP/003, Section 3 (Technical Specifications & Performance Baseline)
• Hose box: LDPE construction suitable to accommodate 2 nos. 15 m long fire fighting hoses (Type B) with coupling and branch pipe.
• Finish: exterior Fire Red (IS 5, Shade 536) over 2 coats of primer; interior white; hinged double doors with polycarbonate glazing and locking arrangement.
• Door glass: polycarbonate of proper size with rubber beading.
Checked by (Service Engineer) |  |  |  | Verified by (Supervisor / Technical) |  |  |  | Witnessed by (Client I/C Fire Services)
Name: |  |  |  | Name: |  |  |  | Name:
Signature: |  |  |  | Signature: |  |  |  | Signature:
Date: |  |  |  | Date: |  |  |  | Date:
For Indus Fire Safety Private Limited – Authorised Signatory (Seal & Signature): ______________________________